Table 5: Metrics of Dice Similarity Coefficient, Median Surface Distance (mm), False Positive Discoveries (#/patient), and False Positive Volume (cc) for 25 LiTs test patients.

| Metric | N = 25 Patients |  |  |  |
| --- | --- | --- | --- | --- |
|  | Median | Min | Max | Standard Deviation |
| Dice Similarity Coefficient | 0.63 | 0.04 | 0.93 | 0.29 |
| Median Surface Distance (mm) | 1.59 | 0.67 | 109 | 29.6 |
| False Positive Discoveries (#/Patient) | 4 | 0 | 19 | 4.5 |
| False Positive Volume (cc) | 17.9 | 0.15 | 236 | 56.3 |
| Erroneous False Positive Volume (cc) | 4.0 | 0.00 | 65 | 16.1 |
| Over-segmentation False Positive Volume (cc) | 3.7 | 0.03 | 236 | 58.21 |