# Automated Segmentation of Colorectal Liver Metastasis and Liver Ablation on Contrast-enhanced CT Images

Key results

- A uniquely trained model was created on publically available data.

- The model created predictions of colorectal liver metastasis and ablation zones on average in less than 30 seconds.

- Model predictions were evaluated by three trained physicians, where 100% of the predicted disease sites had a Likert Score greater than or equal to 4 out of a possible 5.

# Abstract

Background:Colorectal cancer (CRC), the third most common cancer in the USA, is a leading cause of cancer-related death worldwide. Up to 60% of CRC patients develop liver metastasis (CRLM). Treatments, such as radiation and ablation therapies, require disease segmentation for accurate planning and delivery of focal therapy. For ablation therapy, ablation zone segmentation is required to evaluate disease coverage. Here, we propose a fully convolutional (FC) model to segment both the disease and the ablation zone.

Purpose:We hypothesized that FC neural networks, trained using novel methods to account for varying lesion sizes, will provide rapid and accurate identification and segmentation of CRLM and ablation zones.

Materials and Methods: Four FC model styles were investigated: Standard 3D-UNet, Residual 3D-UNet, Dense 3D-Unet, and Hybrid-WNet. These models were trained and optimized on 92 patients from the publicly available Liver Tumor Segmentation (LiTS) challenge. For the model evaluation we acquired 15 patients from the 3D-IRCADb database, submitted predictions to the LiTS challenge(n=70), and identified 18 patients previously treated at our institution (24 CRLM, 19 ablation zones). Qualitative evaluations of our institutional data were performed by two board certified radiologists (interventional, diagnostic), and a radiology-trained physician fellow, using a Likert scale 1-5.

Results: The most accurate model was the Hybrid-WNet. On a patient-by-patient basis in the 3D-IRCADb dataset, the median(min-max) Dice similarity coefficient (DSC) was 0.73(0.41-0.88), median surface distance was 1.75mm(0.57–7.63mm), and number of false-positives was 1(0-4). From submission to the LiTS challenge(n=70), the global DSC was 0.810.  The model sensitivity was 98%(47/48) for disease sites ≥15mm in diameter. Qualitatively, 100%(24/24; minority vote) of the CRLM and 84%(16/19; majority vote) of the ablation contours had Likert scores ≥4.

Conclusion: The proposed Hybrid-WNet model provided fast (<30 seconds) and accurate segmentations of CRLM and ablation zones on contrast-enhanced CT scans, with largely positive physician reviews.

# Introduction

## Colorectal Cancer in the United States

Colorectal cancer (CRC) is the third most common cancer in the United States in both men and women1 and a leading cause of cancer-related death worldwide2.  Up to 60% of patients will develop colorectal liver metastasis (CRLM) over the course of their disease, and 25% present with CRLM at diagnosis3. Moreover, it is believed that liver involvement with CRLM is the main determinant of survival in this patient population. Such facts highlight the importance of liver-directed loco-regional therapies (LRT) for the management of these patients.

While several treatment options are available for CRLM (in particular radiation and ablation therapies), they all rely on accurate estimation of disease extent, usually involving cross-sectional imaging with contrast-enhanced CT (CECT) or MRI. CRLM often appears as hypo-enhancing lesions on routine CECT portal-venous phase images. However, their detection can be challenging due ill-defined margins, particularly for sub-centimeter lesions.

Both radiofrequency and microwave ablation interventions aim for a minimum margin to be delivered around the gross disease to ensure that all microscopic disease is treated. This requires both segmentation of disease on pre-treatment images, and the ablation zone on post-treatment images to assess the final delivered ablation margin4. The ablation zone is hypo-enhanced on CECT images, similar to the CRLM. A clinical trial is underway (Identifier: NCT04083378)  to map the CRLM from pre-treatment to post-treatment imaging and assess treatment efficacy, but manual segmentations of both the disease and the ablation zone is still required5, adding time to the procedure.

To date, automated liver disease segmentation tasks have either largely focused on primary liver disease, or have not included qualitative evaluation of generated contours6–9. New institution- and society-sponsored competitions, such as the Liver Tumor segmentation (LiTS) challenge10 and the 3D-IRCADb016 dataset have included data from both primary and secondary liver cancers, enabling investigation, development and comparison of automatic segmentation algorithms using public data.

We hypothesized that fully convolutional neural networks, trained using novel methods to account for the challenges of varying disease size, will provide rapid and accurate identification and segmentation of both CRLM and ablation cavities. We believe that this approach will facilitate the automated detection of CRLM, radiation treatment planning for CRLM, and the evaluations of margin in ablation therapy.

# Materials and Methods

## Quantitative Training, Validation, and Testing

To ensure reproducibility by other institutions, we generated a fully convolutional neural network using data provided by the publicly available LiTS challenge10. The LiTS dataset consists of CECT scans from 131 patients with primary liver tumos and secondary liver metastasis. Ground truth segmentations of the liver and disease were provided by the challenge, although only the disease segmentations were used in this study. Each image and disease segmentations was reviewed by XXX to remove the data showing hyper-enhancing metastases, a lack of CRLM, or an absence of image acquisition parameters (e.g. slice thickness, pixel spacing). A total of 92 patients remained (72 for training and 20 for validation).

We evaluated our model via submission to the LiTS challenge (70 patients), and the 3D-IRCADb01 publically available dataset11. Table 1 shows the image acquisition parameters for the training, validation, and test sets. Five of the patients from the 3D-IRCADb01 dataset were excluded: patients 5, 11, and 20 had no CRLM, patient 12 had a large cystic lesion at the base of the liver, and patient 18 had CRLM with atypical enhancement pattern.

## Data Pre-Processing

### Image Intensity Manipulation

Initial attempts to normalize the data on the basis of the global mean and standard deviation resulted in extreme outliers when the contrast within the liver was high or low relative to the global mean. To best separate the normal tissue from the disease, we calculated a patient-specific mean and standard deviation on the basis of the Full-Width-Half-Max of the values within the provided contoured liver. As a result, the disease consistently appeared darker than the normal tissue. The image intensity outside of the masked liver was set to be equal to 0 after normalization.

### Voxel Size Resampling

To account for the sensitivity of convolutional neural networks with varying image sizes and resolution, we resampled all training and validation images to 1mm slice thickness using bi-linear interpolation. Likewise, we applied bi-linear interpolation to the ground-truth segmentations of the disease, providing the model with values of 0-1 for each part.

### Training Image “Cubes”

To account for disparities in class representation, where smaller structures are inherently “worth less” than large structures when categorical cross-entropy was used as a loss and class weighting was not applied, we distributed our training into unique “cubes”. Simple class weighting would not solve this problem as it would result in the modeling weighing heavily disease cases as more important to learning than the less disease cases. Each independent disease site was divided into individual “cubes” of 32x120x120 voxels. Figure 1 illustrates several disease cubes for one patient. The cubes were extracted sequentially, with large disease sites being broken up into multiple cubes. Every cube had disease present within it. After extraction, the training dataset consisted of 572 unique image cubes that were shuffled randomly.

The validation and test set are not broken into cubes, our architectures accepts variable input size, with the entire liver being passed at once for evaluation and testing.

## Architectures

Four architectures were investigated: Standard 3D UNet, Residual 3D UNet, Dense 3D UNet, and Hybrid-WNet (a hybrid pre-trained Standard 2D UNet combined with a 3D DenseUNet). The basic architectural framework (i.e., the number of convolution blocks per layer, number of layers, convolution block lambda [increase in the number of convolution blocks per layer], and maximum number of convolution blocks) remained the same for the Standard, Re5sidual, and Dense 3D UNets (Figure 2A). The differences in the convolutions and connections in the Standard, Residual, and Dense 3D UNets are represented in Figure 2B. A representative diagram of the Hybrid-WNet architecture is shown in Figure 3.

### Standard 3D UNet

We first investigated the Standard 3D UNet, in which concatenations or additions were used to combine equal-sized feature maps from the encoder to the decoder side.

Standard architectural parameters:

- 1, 2, 3, or 4 layers

- 1, 2, or 3 initial convolution blocks

- Increase in number of convolution blocks (convolution lambda) for each layer of 0, 1, or 2

- 4 maximum convolution blocks

- 8, 16, and 32 initial filters

- 32, 64, or 128 maximum filters

### Residual 3D UNet

The Standard 3D UNet was expanded to include residual connections for each convolution block in a layer, with motivation from the ‘ResNet’ architecture12. Residual connections have the benefit of allowing a “flow” of loss from previous convolutions. This allows the model to create skip-connections over convolutions that might not be necessary.

Residual Network Architecture Parameters:

- 1, 2, 3, or 4 layers

- 1, 2, 3, or 4 initial convolution blocks

- Increase in number of convolution blocks (convolution lambda) for each layer of 0, 1, and 2

- 4 maximum convolution blocks

- 32 initial filters

- 128 maximum filters

### Dense 3D UNet

A more complete “flow” of loss from previous convolutions can be realized with the DenseNet architecture13. This architectural style allows previous convolutions to be re-used; optimizing the model’s reuse of feature maps enables more diversified feature creation. The reuse of previous convolutions allows the number of filters to be significantly reduced since the number of filters is increased by a small amount each time (referred to here as the “growth rate”).

Dense Network Architectural Parameters:

- 2 or 3 layers

- 2 initial convolution blocks

- Increase in convolution blocks (convolution lambda) for each layer of 0 or 1

- 4 maximum convolution blocks

- 8, 12, 16, and 32 initial filters

- Filter growth rate of 0 and 4

Infinite maximum filters

### Hybrid-WNet

Our Hybrid-WNet architectural style was inspired by that presented by Li et al.8 with significant alterations. The architecture combined 2D features extracted from the pre-trained 2D DenseNet13 with a 3D convolutional neural network. Our model builds on the DenseNet 121 architecture implemented in Tensorflow software14. To turn this classifier into a semantic segmentation algorithm, we created a UNet of the DenseNet 121 and performed bilinear upsampling, followed by a convolution and the addition of encoding features (Figure 3, gray arrow). We coined the term Hybrid-WNet on the basis of the hybrid approach of combing 2D and 3D features, along with W-shaped appearance of two UNets beside each other (Figure 3).

Our architecture and training varied from the original architecture in three fundamental ways. First, we provided connections from the encoding to the de-coding side of the DenseNet 121 network via additions, ensuring that previous features were not lost as a result of pooling and upsampling. Second, in architecture training, we broke the training process into four steps: 1) training only the new decoding side of the DenseNet 121, 2) training the entire DenseNet121, 3) training only the 3D network with the extracted 2D features, and 4) entire end-to-end training. By breaking up the training process in this fashion, we ensured that we could use high learning rates without the risk of “untraining” pretrained layers or feature extractors. Third, our 3D DenseNet contained truly dense layers, with extracted features shared throughout the entirety of each layer; this enabled the use of significantly fewer features.

## Model Training

All model training was performed using NVIDIA-Tesla V100 32GB GPUs15. All model creation, training, optimization, and evaluation was performed using Tensorflow software version 2.2.016. Models were optimized using a sparse categorical cross entropy loss and an Adam optimizer. Mixed precision was enabled to reduce the training time.

The model was trained with two inputs, a CT image and a binary mask of the liver. The liver mask automatically assigns a background to any voxel that is not present within the liver, as any disease should be within the provided liver contour. Training involved passing B*N*H*W*C tensors to the model, where the (B)atch varied from 8, to 16, the (N)umber of slices was 32, the (H)eight was 120, the (W)idth was 120, and the (C)hannels was 2 (image and binary liver mask). Thus, a single pass might be 8x32x120x120x2 in size.

#### Training the DenseNet121 UNet

When training the 2D aspect of the Hybrid-WNet, 3D cubes were reshaped into stacked 2D images. For example, a batch of 8x32x120x120x1 would be transformed into 8*32x120x120x1. To ensure that pre-trained weights were taken advantage of, the first iteration froze all weights on the pre-trained encoding aspect of the architecture, only training the decoding aspect. Next, all weights were made trainable, allowing the model to tweak any pre-trained layers.

#### Training the Combined 2D-3D WNet

After training the 2D part of the W-Net, we concatenated the 2D features before classification to the input of the 3D model. For the first iteration, all weights from the 2D network were frozen, and only the 3D model was trained. Next, all weights were unfrozen, allowing the model to be fine tuned.

### Hyper-Parameters

The learning rate is known to be one of the most important variables in determining a model’s ability to converge; optimal rates vary based on architecture depth (layers), number of convolution blocks, and number of filters in each block. For each model, a variation in the cyclical learning rate17 ws used (GitHub link: anonymized for review), where the model started training at a minimum learning rate before linearly increasing to the maximum and decreasing back to the minimum.

The minimum and maximum learning rates were defined using an in-house function (Githb link: anonymized for review). This function slowly increases the learning rate from a very low value (~1e-10) to a large value (~1-e-1) on the training dataset. The minimum and maximum learning rates were extracted from the resulting training loss curve where the loss began to decrease and increase, respectively (Supplementary Figure 1). Unique minimum and maximum learning rates were found for each architectural parameter for reach architectural style.

### Model Optimization

To overcome the impact of variable initialization, we ran each unique model three times independently using randomly initialized variables for 101 epochs. Plotnine and Tensorflow’s Tensorboard (https://github.com/tensorflow/tensorboard) with hyperparameter tuning was used to identify any potential trends and direct model training. The final model was selected on the basis of the Dice similarity coefficient (DSC) between the validation set prediction and the ground truth during the training process.

Disease sites can be small; therefore, quantitative metrics may led to inaccurate segmentation results. Prediction images were created on the validation data during training to visually assess training accuracy (Figure 4). This method has been implemented as a Tensorflow callback function (Githb link: anonymized for review).

## Model Evaluation

### Seed and Threshold Values

The disease predictions from our model ranged from 0-1. Unfortunately, because of slice thickness, the most inferior and superior aspects of a disease site might have a lower probability than the “middle” of the disease. For this reason, we used seed-point growth for the final prediction. Seed points were created to define the likely starting point of a disease site, and then grown outwards to the threshold value. The seed value and threshold values were selected on the basis of the highest DSC in the validation dataset. The seed values ranged from 0.25-0.95 in 0.01 increments, and the thresholds ranged from 0.2 to 0.8 in 0.01 increments.

### Quantitative Evaluation

The geometric performance of the model was evaluated on the test set using the (DSC) and Median Surface Distance between the manual and predicted segmentations. To evaluate our model, we report on predictions in a disease site-by-site, patient-by-patient, and “global” basis.

For the site-by-site comparison, each non-connected disease segmentation of the test patients was considered an independent case. In that regard, we computed the metrics between the manual segmentation and the closest continuous predicted disease segmentation, using the distance between site centroids. For the patient-by-patient comparison, we computed the metrics between the manual and predicted segmentations within the entire liver. For global DSC, all images were stacked together, this metric comes from the LiTs challenge10. All metrics were computed using their original image resolution.

The sensitivity of the model was evaluated on a site-by-site basis, where the disease was considered identified if at least 45% of the manual disease volume was overlapped by the predicted disease volume. The false-positive volume was defined as the volume of the predicted disease segmentation outside of the ground truth disease segmentation and was comprised of two errors: over-segmentation of the actual disease volume and erroneous segmentation of the normal liver area as disease. The erroneous false-positive volume was quantified as the volume that was completely unconnected from any ground truth disease segmentations and the over-segmentation false volume as the total predicted volume minus the erroneous volume (Supplementary Figure 1).

### Qualitative Evaluation

To enrich the quantitative evaluation, we also evaluated quantitative metrics. For large structures, a high DSC can hide clinically important inaccuracies, while for smaller structures, a low DSC can be overly critical18. Therefore, a qualitative assessment of both CRLM and ablation segmentations was performed by a radiology-trained physician fellow (1, XXX) and two board-certified radiologists (2, XXX), an interventional radiologist, and (3, XXX), a diagnostic radiologist, both of whom have more than 10 years of experience).

We retrospectively identified 18 patients, who had previously undergone thermal ablation therapy at our institution under an Institutional Review Board-approved study; these patients had 24 CRLM sites and 19 ablation sites. The predicted CRLM and ablation contours were scored independently by both radiologists and the radiology physician fellow based on a Likert quality scale of 1-5. The criteria for the scale are shown in Supplementary Table 1.

# Results

The best validation loss scores for each architectural style were, Standard UNet: 0.041, Residual UNet: 0.024, DenseUNet: 0.016, DenseNet2D (Encoder frozen): 0.022, DenseNet2D (All trainable): 0.013, DenseNet3D (2D frozen): 0.011, DenseNet3D (All trainable): 0.0092.

## Quantitative

The best model was the Hybrid-WNet model: the 3D UNet contained two layers, two convolution blocks, and 32 filters and had a convolution lambda of two. The model consisted of 14,497,600 parameters (14,408,960 trainable and 88,640 non-trainable).

A seed value of 0.67 and threshold value of 0.30 resulted in the highest overall DSC in the validation dataset. LiTs test set (n = 70) predictions required a mean of 9.58 seconds, with a standard deviation of 2.32 seconds.

### Site-by-Site evaluation

#### 3D-IRCADb

On a site-by-site basis, the median (min-max) median surface distance for sites < 15mm (n=73) was 28.25 mm (0.67-108) and for sites > 15mm (n=48) was 1.23mm (0.28–19.4). The mean (min-max) DSC for sites < 15mm (n=73) was 0.16 (0.00 - 0.89) and for sites > 15mm (n=48) was 0.74(0.00 - 0.94) (Table 2).

We compared our model results to those of other authors (Table 3); our size distributions were varied to match to ensure fair comparison.

#### Institutional Data

For the pre-treatment CECT in which previously defined manual contours were present in the CRLM (n=19 sites), the mean (min-max) DSC was 0.80 (0.59-0.91), with 84% (16/19) having DSC ≥ 0.76. For the post-treatment CECT where previously defined manual contours were present of the ablation zone (n=14 sites), the mean (min-max) DSC was 0.75 (0.09-0.90), with 71% (10/14) having DSC ≥ 0.76.

### Patient-by-Patient evaluation

Patient-by-patient evaluation for 3D-IRCADb and institutional data are summarized in Table 4.

#### 3D-IRCADb

On a patient-by-patient basis, the median (min-max) median surface distance was 1.75mm (0.57–7.63mm), the DSC was 0.73 (0.41-0.88), the number of false-positives was 1 (0-4), false-positive volume was 4.25cc (0.08-28.34cc), the erroneous false-positive volume was 2.35cc (0.00, 14.56cc), and over-segmentation false-positive volume was 1.24cc (0.00, 17.56cc) (Table 4). Note that a single patient might have multiple disease sites of varying sizes. The global DSC score was 0.81.

#### Institutional Data

Manual contours of the CRLM and ablation zones were not always present; for this reason, fewer sites were used than in the qualitative analysis.

For the pre-treatment CECT in which previously defined manual contours were present in the CRLM (n=15 patients), the mean (min-max) DSC was 0.67 (0.28-0.91), with 84% (16/19) having DSC ≥ 0.76. For the post-treatment CECT, in which previously defined manual contours were present of the ablation zone (n=9 patients), the mean (min-max) DSC was 0.72 (0.42-0.89), with 67% (6/9) having DSC ≥ 0.75.

## Qualitative Evaluation

### Institutional Data

Supplementary Table 2 shows the Likert scores of the two radiologists and radiology trained physician fellow. The mean (min-max) Likert scores for all qualitative patient gross tumor volumes (n=24) were interventional radiologist: 4.7 (4-5), diagnostic radiologist: 4.6 (4-5), physician fellow 4.9 (4-5), and majority: 4.8 (4-5). The mean (min - max) Likert scores for each qualitative patient ablation volume (n=19) and the majority score were interventional radiologist: 4.1 (2-5), diagnostic radiologist: 3.8 (2-5), physician fellow 4.5 (3-5), and majority: 4.1 (2-5). All (24/24) of the CRLM contours and 84%(16/19) of the ablation contours had a majority Likert score ≥ 4.

Figure 6 shows the scores of the two radiologists and physician fellow on the CRLM and ablation zones.

# Discussion

In this study, we proposed a Hybrid-WNet model architecture for the segmentation of the disease sites and ablation areas in the context of CRLM treated with ablation therapy. The model was further evaluated using the Likert scoring method by two board certified radiologists (XXX, interventional radiologist and XXX, diagnostic radiologist) and a radiology trained physician fellow (XXXs), with majority  voting scores ≥ 4 out of 5 for 100% (24/24) of the disease and 84% (16/19) of the ablation segmentations. Our work is highly innovative in regard to the proposed model architecture and training workflow (discussed below). The prediction process has been implemented in a treatment planning system (RayStation 9B, RaySearch Laboratories, Sweden)19 and can perform segmentations in < 30 seconds, making it highly suitable for clinical use.

Our work is highly innovative because of the Hybrid-WNet model architecture and the training of the model; the model had with 98% (47/48) sensitivity on disease sites ≥ 15mm, with predictions in < 30 seconds. Our model performed similarly to the state-of-the-art architectures shown in Table 3 with respect to DSC and sensitivity.

The proposed Hybrid-WNet architecture in this study differs from the model which inspired it8 by adding additions to the 2D feature extractor, and connecting all of the convolutional layers within the convolution blocks between the encoding and decoding of the 3D DenseNet. Previously published studies proposed similar architectures that were focused only on dense connections within a single convolutional block20–22. Our proposed implementation allows the model to receive inputs from every convolution of the same image size across the entire network. This global passing of convolution layers across the network removes bottlenecks in each convolution block, something that is particularly important with dense connections where convolutions can be re-used. The proposed model will be publicly available (Github: redacted for anonymization).

Segmentation of CRLM has historically been difficult because of the relatively small size of lesions and the large search area. The extent of disease can vary from patient to patient, from a single lesion to multiple lesions. Simple class weighting of disease would lead to favoring training in patients with more disease sites. Our proposed method of splitting the liver into cubes that are centered specifically on disease sites ensures that the model learns using a more balanced representation of data. The training workflow was designed to allow the model to learn from batches that contains cubic images from multiple patients at once, enabling the creation of a more generalized model.

While fully convolutional networks have been previously investigated for the segmentation of CRLM7, only a quantitative assessment of model performance has been reported. The mean DSC and sensitivity of our model were slightly lower than those presented by Vorontsov et al7, with more test sites for two of the criteria (n=42 vs n=30 for < 10mm, and n=49 vs n=35 for 10-20mm). Similar findings have also been reported by Christ et al;6 however, their work focused on primary liver disease. Within our institutional data, 84% (16/19) of the disease sites had a DSC > 0.76, which is reported as the inter-observer variability for CRLM segmentation23.

## Limitations

Our study has several limitations. The mean sensitivity was only 7% in disease sites < 10 mm in diameter compared with 98% in sites > 15 mm. We believe that the low sensitivity in small sites may be partly due to the test data used, where several 10-15-mm disease sites were present on a single scan slice. Unfortunately, manual contours were not present for all of the institutional CRLM and ablation data, limiting our quantitative comparison to 19 of the 24 CLRM sites and 9 of the 19 ablation sites.

Majority voting showed poor Likert score (< 4) for three ablation sites. The predictions for these sites can be seen in the Supplementary Figure 2, where disagreement about the boundary of the ablation zone and the time needed for correction resulted in a range of scores from the reviewers. We believe that suboptimal imaging quality during porto-venous CT acquisition phase might have negatively impacted ablation zone boundary identification in such patients. Optimizing imaging acquisition protocol intra-procedurally during ablation interventions might overcome such limitation.

The measurement of false-positive volume seemed to be highly biased when there were small amounts of over-segmentation on large tumors; this was the rationale for the creation of the erroneous and over-segmentation false-positive volumes. To ensure transparency, we included all three and relied on qualitative assessment to add weight to the quality of the contours.

## Conclusions

The proposed Hybrid-WNet model provided fast (< 30 seconds) and accurate CRLM and ablation zone segmentations for CECT. Our model’s results were well accepted by the reviewers, with all three scoring the disease segmentation (n=24) as 4 or higher on the Likert scale, and 84% (16/19) as 4 or higher with ablation segmentation. We believe that this model can provide clinical benefits in the detection of CRLM, the assessment of ablation therapy, and automated planning for radiation therapy.

Our proposed Hybrid-WNet provided fast (< 30 seconds) and accurate segmentation of colorectal liver metastasis and ablation zones, with largely positive physician reviews.

# Acknowledgements

The authors would like to acknowledge the Editing Services, Research Medical Library at XXX, funding from the Society of Interventional Radiology Foundation Allied Scientist Grant, NIH (NCI R01CA221971), and the Helen Black Image Guided Fund.

# References

1. 	Siegel RL, Miller KD, Jemal A. Cancer statistics, 2019. CA Cancer J Clin. 2019;69(1):7-34. doi:10.3322/caac.21551

2. 	WHO Biennial Report 2012-2013. Accessed October 27, 2020. https://governance.iarc.fr/SC/SC50/Biennial Report 2012-2013.pdf

3. 	Alper Sag A, Selcukbiricik F, Mandel NM. Evidence-based medical oncology and interventional radiology paradigms for liver-dominant colorectal cancer metastases. World J Gastroenterol. 2016;22(11):3127-3149. doi:10.3748/wjg.v22.i11.3127

4. 	Gillams A, Goldberg N, Ahmed M, et al. Thermal ablation of colorectal liver metastases: a position paper by an international panel of ablation experts, the interventional oncology sans frontières meeting 2013. Eur Radiol. 2015;25(12):3438-3454. doi:10.1007/s00330-015-3779-z

5. 	Software-Aided Imaging (Morfeus) for Confirming Tumor Coverage With Ablation in Patients With Liver Tumors, the COVER-ALL Study - Full Text View - ClinicalTrials.gov. Accessed August 28, 2020. https://clinicaltrials.gov/ct2/show/NCT04083378

6. 	Christ PF, Elshaer MEA, Ettlinger F, et al. Automatic liver and lesion segmentation in CT using cascaded fully convolutional neural networks and 3D conditional random fields. In: Lecture Notes in Computer Science (Including Subseries Lecture Notes in Artificial Intelligence and Lecture Notes in Bioinformatics). Vol 9901 LNCS. Springer Verlag; 2016:415-423. doi:10.1007/978-3-319-46723-8_48

7. 	Vorontsov E, Cerny M, Régnier P, et al. Deep Learning for Automated Segmentation of Liver Lesions at CT in Patients with Colorectal Cancer Liver Metastases. Radiol Artif Intell. 2019;1(2):180014. doi:10.1148/ryai.2019180014

8. 	Li X, Chen H, Qi X, Dou Q, Fu C-W, Heng P-A. H-DenseUNet: Hybrid Densely Connected UNet for Liver and Tumor Segmentation from CT Volumes. IEEE Trans Med Imaging. Published online June 11, 2018:1-1. doi:10.1109/TMI.2018.2845918

9. 	Seo H, Huang C, Bassenne M, Xiao R, Xing L. Modified U-Net (mU-Net) with Incorporation of Object-Dependent High Level Features for Improved Liver and Liver-Tumor Segmentation in CT Images. IEEE Trans Med Imaging. 2020;39(5):1316-1325. doi:10.1109/TMI.2019.2948320

10. 	Bilic P, Christ PF, Vorontsov E, et al. The Liver Tumor Segmentation Benchmark (LiTS).; 2019.

11. 	3D-IRCADb 01 | IRCAD France. Accessed September 29, 2020. https://www.ircad.fr/research/3d-ircadb-01/

12. 	He K, Zhang X, Ren S, Sun J. Deep Residual Learning for Image Recognition. Accessed July 28, 2020. http://image-net.org/challenges/LSVRC/2015/

13. 	Huang G, Liu Z, Van Der Maaten L, Weinberger KQ. Densely Connected Convolutional Networks. Accessed July 28, 2020. https://github.com/liuzhuang13/DenseNet.

14. 	Abadi M, Agarwal A, Barham P, et al. TensorFlow: Large-Scale Machine Learning on Heterogeneous Distributed Systems. Accessed December 10, 2017. https://static.googleusercontent.com/media/research.google.com/en//pubs/archive/45166.pdf

15. 	NVIDIA Tesla V100 | NVIDIA. Accessed July 28, 2020. https://www.nvidia.com/en-gb/data-center/tesla-v100/

16. 	Abadi M, Agarwal A, Barham P, et al. TensorFlow: Large-Scale Machine Learning on Heterogeneous Distributed Systems. Accessed July 28, 2020. www.tensorflow.org.

17. 	Smith LN. Cyclical Learning Rates for Training Neural Networks. Accessed July 28, 2020. www.cs.toronto.edu/

18. 	Anderson BM, Lin EY, Cardenas CE, et al. Automated Contouring of Contrast and Noncontrast Computed Tomography Liver Images With Fully Convolutional Networks. Advancesradonc. Published online 2020. doi:10.1016/j.adro.2020.04.023

19. 	Bodensteiner D. RayStation: External beam treatment planning system. Med Dosim. 2018;43(2):168-176. doi:10.1016/j.meddos.2018.02.013

20. 	Jégou S, Drozdzal M, Vazquez D, Romero A, Bengio Y. The One Hundred Layers Tiramisu: Fully Convolutional DenseNets for Semantic Segmentation. Accessed August 26, 2020. https://github.com/SimJeg/FC-DenseNet

21. 	Hai J, Qiao K, Chen J, et al. Fully convolutional densenet with multiscale context for automated breast tumor segmentation. J Healthc Eng. 2019;2019. doi:10.1155/2019/8415485

22. 	Brahimi S, Ben Aoun N, Benoit A, Lambert P, Ben Amar C. Semantic segmentation using reinforced fully convolutional densenet with multiscale kernel. Multimed Tools Appl. 2019;78(15):22077-22098. doi:10.1007/s11042-019-7430-x

23. 	Jensen NKG, Mulder D, Lock M, et al. Dynamic contrast enhanced CT aiding gross tumor volume delineation of liver tumors: An interobserver variability study. Radiother Oncol. 2014;111(1):153-157. doi:10.1016/j.radonc.2014.01.026

# Tables

Table 1: Image Acquisition Parameters of the LiTS Challenge for the Training, Validation, and Test Sets

| Origin | Distribution | Mean (Min-Max) |  |  |
| --- | --- | --- | --- | --- |
|  |  | Slice Thickness (mm) | Pixel Size X (mm/voxel) | Pixel Size Y (mm/voxel) |
| LiTS | Training (n = 72) | 1.64 (0.7-5.0) | 0.75 (0.60-0.98) | 0.75 (0.60-0.98) |
|  | Validation (n = 20) | 2.02 (0.7-5.0) | 0.78 (0.68-0.98) | 0.78 (0.68-0.98) |
|  | Test (n = 70) | 2.43 (0.45-6.0) | 0.75 (0.60-0.98) | 0.75 (0.60-0.98) |
| 3D-IRCADb | Test (n = 15) | 1.78 (1.0-4.0) | 0.72 (0.56-0.87) | 0.72 (0.56-0.87) |

Table 2: Mean, Min, and Max Dice Similarity Coefficient and Median Surface Distance and Sensitivity for Individual Disease Sites by Differing Size Criteria of the 3D-IRCADb Dataset

| Disease Site Diameter | # Sites | Dice Similarity Coefficient |  |  | Median Surface Distance (mm) |  |  | Sensitivity |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Mean | Min | Max | Median | Min | Max |  |
| < 15 mm | 73 | 0.16 | 0.00 | 0.89 | 28.25 | 0.67 | 108 | 23% (15 of 73) |
| ≥ 15 mm | 48 | 0.74 | 0.00 | 0.94 | 1.23 | 0.28 | 19.4 | 98% (47 of 48) |

Table 3: Comparison of CRLM Segmentation Results from Our Model and the Literature. Green Box Indicates More Disease Sites (n), Better Dice Similarity Coefficient (DSC), or Higher Sensitivity.

| Method | Model | Disease Diameter and Source | No. of Sites | Mean DSC | Sensitivity |
| --- | --- | --- | --- | --- | --- |
| Presented method | Hybrid-WNet | < 10 mm | 42 | 0.00 | 7% |
|  |  | 10-20 mm | 49 | 0.43 | 59% |
|  |  | 15-20 mm | 18 | 0.68 | 94% |
|  |  | ≥ 20 mm | 30 | 0.77 | 98% |
|  |  | LiTS | 70 patients | 0.810 global | - |
|  |  | 3D-IRCADb | 15 patients | 0.69 | - |
| Vorontsov et al4 | FCN | < 10 mm | 30 | 0.14 | 10% |
|  |  | 10-20 mm | n = 35 | 0.53 | 71% |
|  |  | > 20 mm | 40 | 0.68 | 85% |
| Li et al10 | Hybrid Dense UNet | LiTS | 72 patients | 0.824 global | - |
| Seo et al16 | mU-Net | 3D-IRCADb | 5 patients | 0.68 | - |

Patients were specified instead of sites for LiTS test submission.

Table 4: Metrics of Dice Similarity Coefficient, Median Surface Distance (mm), False-Positive Discoveries (Per Patient), and False-Positive Volume (cc) for 15 3D-IRCADb Test Patients

| Metric | Overall Patients (N = 15) |  |  |  |
| --- | --- | --- | --- | --- |
|  | Median | Min | Max | Standard deviation |  |
| Dice similarity coefficient | 0.74 | 0.40 | 0.89 | 0.16 |  |
| Global Dice similarity coefficient | 0.81 | N/A | N/A | N/A |  |
| Median surface distance (mm) | 1.95 | 0.57 | 8.00 | 1.90 |  |
| False-positive discoveries (per patient) | 1 | 0 | 7 | 2.0 |  |
| False-positive volume (cc) | 4.25 | 0.08 | 28.34 | 7.48 |  |
| Erroneous false-positive volume (cc) | 2.35 | 0.00 | 14.56 | 5.01 |  |
| Over-segmentation false-positive volume (cc) | 1.24 | 0.00 | 17.56 | 5.50 |  |
| Metric | CRLM Patients (N = 15) |  |  |  |
|  | Median | Min | Max | Standard deviation |  |
| Dice similarity coefficient | 0.78 | 0.28 | 0.91 | 0.17 |  |
| Median surface distance (mm) | 0.78 | 0.01 | 83.28 | 27 |  |
| False-positive discoveries (per patient) | 1 | 0 | 4 | 1.2 |  |
| False-positive volume (cc) | 2.43 | 0.28 | 14.47 | 4.68 |  |
| Erroneous false-positive volume (cc) | 1.05 | 0.00 | 14.23 | 4.54 |  |
| Over-segmentation false-positive volume (cc) | 0.73 | 0.23 | 3.68 | 0.97 |  |
| Metric | Ablation Patients (N = 9) |  |  |  |
|  | Median | Min | Max | Standard deviation |  |
| Dice similarity coefficient | 0.79 | 0.42 | 0.89 | 0.16 |  |
| Median surface distance (mm) | 0.76 | 0.01 | 5.72 | 1.76 |  |
| False-positive discoveries (per patient) | 2 | 0 | 6 | 1.6 |  |
| False-positive volume (cc) | 27.8 | 5.84 | 174.07 | 61.25 |  |
| Erroneous false-positive volume (cc) | 5.62 | 0.00 | 107.47 | 32.77 |  |
| Over-segmentation false-positive volume (cc) | 11.40 | 4.35 | 172.54 | 50.97 |  |

# Figure Legends

Figure 1: Liver distributed into individual cubes of 32x120x120. Disease was labeled as disease, regardless of the center of the cube. The validation and test set were not broken into cubes; our architectures accepted variable input sizes, with the entire liver being passed at once for evaluation and testing.

Figure 2: Top (A): Basic architecture framework. Bottom (B): Difference in convolution blocks, surrounded by green to indicate the same region in (A). Standard: previous feature maps are convolved and activated. Residual: previous feature maps are directly added to convolutional output in a skip-connection before activation. Dense: previous feature maps are continually concatenated together before activation and convolution. BN: batch normalization.

Figure 3: Hybrid-WNet. (Left) Pre-trained 2D DenseNet 121 converted into UNet, where final features were concatenated into 3D DenseNet. (Right) 3D DenseNet architecture was defined as two layers, two convolution blocks in layer 0, three convolution blocks in layer 1, and eight initial filters. BN: Batch Normalization

Figure 4: Example of visualization of prediction on validation data during training. Top row: Image being fed into the model, masked by the liver segmentation. Middle row: Ground truth of disease contours. Bottom row: Prediction of disease contours, set with a threshold of 0.5 to the binary mask.

Figure 5: (Left) Overlay between predicted (white) and ground truth (red) disease segmentations. (Right) Subtraction of the predicted and ground truth disease segmentation and over-segmentation of the disease volume (blue) and unconnected erroneous false-positive region (green). The sum of blue and green is a false-positive volume.

Figure 6: (Top) Likert score by each reviewer for each disease site. (Bottom) Likert score by each reviewer for each ablation site. A higher value is associated with higher quality.

Supplementary Figure 1: Learning rate finder figure. The learning rate is gradually increased from 10e-7 to 10e-0; the point where loss begins to decrease is the minimum learning rate (min LR), and the point where it begins to increase is the maximum learning rate (max LR).

Supplementary Figure 2: Three cases where majority voting had a Likert Score less than 4. (Top) We believe that the top failed due to similarity in appearance to the gallbladder. (Middle, Bottom) Model over-segmented regions around the ablation zones.